## SIA-IP
|  | CODE | EVENT | DATA TYPE | ADDRESS NUMBER
ZONE EVENTS | Zone CATEGORY | OTHER |  |  |  | SMOKE | FIRE | GAS | WATER | PANIC | HOLDUP | TECHNICAL | DOOR
Zone alarm |  | BA | Burglary Alarm | Partition and Id.Partition | Id. Zones | FA | FA | GA | WA | PA | HA | ZA | DO
Zone restoral |  | BR | Burglary Restoral | Partition and Id.Partition | Id. Zones | FR | FR | GR | WR | PA | HR | ZR | DR
Zone tamper |  | TA | Tamper Alarm | Partition and Id.Partition | Id. Zones | FT | FT | GT | WT | PT | HT | TA | TA
Zone tamper restoral |  | TR | Tamper Restoral | Partition and Id.Partition | Id. Zones | FJ | FJ | GJ | WJ | PJ | HJ | TR | TR
Zone bypass |  | BB | Burglary bypass | Partition and Id.Partition | Id. Zones | FB | FB | GB | WB | PB | HB | ZB | BB
Zone unbypass |  | BU | Burglary Unbypass | Partition and Id.Partition | Id. Zones | FU | FU | GU | WU | PU | HU | ZU | BU
Zone masking |  | BT | Burglary Trouble | Partition and Id.Partition | Id. Zones | bar: FA FR FT FJ FB FU to DO DR TA TR BB BU
Zone masking restoral |  | BR | Burglary Restoral | Partition and Id.Partition | Id. Zones | bar: FA FR FT FJ FB FU to DO DR TA TR BB BU
Zone real time alarm |  | UX | Undefined | Partition and Id.Partition | Id. Zones | FA | FA | GA | WA | PA | HA | ZA | DO
Zone real time restoral |  | UX | Undefined | Partition and Id.Partition | Id. Zones | FR | FR | GR | WR | PR | HR | ZR | DR
Zone pre alarm |  | BG | Unverified event burglary | Partition and Id.Partition | Id. Zones | bar: FA FR to DO DR
PARTITION EVENTS
Partition alarm |  | BA | Burglary Alarm | Partition and Id.Partition | NULL
Partition tamper |  | TA | Tamper Alarm | Partition and Id.Partition | NULL
Partition armed |  | CL | Closing Report | Partition and Id.Partition | NULL
Partition disarmed |  | OP | Opening Report | Partition and Id.Partition | NULL
Partition exit time restoral |  | UX | Undefined | Partition and Id.Partition | NULL
Partition negligency |  | CI | Undefined | Partition and Id.Partition | NULL
Arming cancelled |  | CI | Fail to Close | Partition and Id.Partition | NULL
Doorbel |  | 0 | Undefined | Partition and Id.Partition | NULL
End Doorbel |  | 0 | Undefined | Partition and Id.Partition | NULL
Patrouille |  | 0 | Undefined | Partition and Id.Partition | NULL
End Patrouille |  | 0 | Undefined | Partition and Id.Partition | NULL
Entry time |  | 0 | Undefined | Partition and Id.Partition | NULL
Entry time end |  | 0 | Undefined | Partition and Id.Partition | NULL
Exit time |  | 0 | Undefined | Partition and Id.Partition | NULL
Exit time end |  | 0 | Undefined | Partition and Id.Partition | NULL
OUTPUT EVENTS
Output Activated |  | 0 | Undefined | NULL | Id.output
Output Deactivated |  | 0 | Undefined | NULL | Id.output
Load Connection |  | 0 | Undefined | NULL | Id.output
Load Disconnection |  | 0 | Undefined | NULL | Id.output
PERIPHERAL EVENTS
Peripheral Tamper |  | ES | Exp. Device Tamper | NULL | Id. Peripheral
Peripheral tamper restored |  | EJ | Exp. Tamper Restore | NULL | Id. Peripheral
Wireless peripheral tamper |  | ES | Exp. Device Tamper | NULL | Id. Peripheral
Wireless peripheral tamper restoral |  | EJ | Exp. Tamper Restore | NULL | Id. Peripheral
Peripheral missing |  | EM | Exp. Device Missing | NULL | Id. Peripheral
Peripheral missing restoral |  | EN | Exp. Missing Restore | NULL | Id. Peripheral
Wireless peripheral missing |  | EM | Exp. Device Missing | NULL | Id. Peripheral
Wireless peripheral missing restoral |  | EN | Exp. Missing Restore | NULL | Id. Peripheral
IP Peripheral Tamper |  | ES | Exp. Device Tamper | NULL | Id. Peripheral
IP Peripheral Tamper restoral |  | EJ | Exp. Tamper Restore | NULL | Id. Peripheral
IP Peripheral missing |  | EM | Exp. Device Missing | NULL | Id. Peripheral
IP Peripheral missing restoral |  | EN | Exp. Missing Restore | NULL | Id. Peripheral
KEYPAD EVENTS
Key 0 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 1 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 2 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 3 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 4 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 5 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 6 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 7 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 8 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
Key 9 on keypad |  | PA | Panic Alarm | NULL | Id. Peripheral UI
PROXIMITY READER EVENTS
Green led on reader |  | UX | Undefined | NULL | Id. Peripheral UI
Red led on reader |  | UX | Undefined | NULL | Id. Peripheral UI
White led on reader |  | UX | Undefined | NULL | Id. Peripheral UI
Blue led on reader |  | UX | Undefined | NULL | Id. Peripheral UI
Yellow led on reader |  | UX | Undefined | NULL | Id. Peripheral UI
COMMUNICATION EVENTS
Communication failure to user |  | YC | Communications Fail | NULL | Id.Contact List
Incoming call* |  | UX | Undefined | NULL | NULL
C-ID communication done |  | UX | Undefined | NULL | NULL
C-ID communication failure |  | YC | Communications Fail | NULL | Id. CID Receiver
SIA communication done |  | UX | Undefined | NULL | NULL
SIA communication failure |  | YC | Communications Fail | NULL | Id. SIA Receiver
POWER EVENTS
Main power loss |  | AT | AC Trouble | NULL | Id. Peripheral
Main power restoral |  | AR | AC Restoral | NULL | Id. Peripheral
Low battery |  | YT | System Battery Trouble | NULL | Id. Peripheral
Low battery restoral |  | YR | System Battery Restored | NULL | Id. Peripheral
Battery fault |  | YT | System Battery Trouble | NULL | Id. Peripheral
Low power output |  | YP | Powe Supply Trouble | NULL | Id. Peripheral
Low power output restoral |  | YQ | Power Supply Restored | NULL | Id. Peripheral
Battery charger fault |  | YP | Powe Supply Trouble | NULL | Id. Peripheral
Battery charger restoral |  | YQ | Power Supply Restored | NULL | Id. Peripheral
Warning fuse |  | YI | Overcurrent Trouble | NULL | Id. Peripheral
Warning fuse restoral |  | YJ | Overcurrent Restore | NULL | Id. Peripheral
CRONOTERMOSTAT EVENTS
Cronotermostat off* |  | UX | Undefined | NULL | Id. Chronothermostat
Heater on* |  | ZH | Freeze Alarm Restore | NULL | Id. Chronothermostat
Cooler on* |  | ZA | Freeze Alarm | NULL | Id. Chronothermostat
REMOTE CONTROL EVENTS
Disarm key |  | PA | Panic Alarm | NULL | Id. Remote Control
Partial arm key |  | PA | Panic Alarm | NULL | Id. Remote Control
Full arm key |  | PA | Panic Alarm | NULL | Id. Remote Control
Long press on disarm key |  | PA | Panic Alarm | NULL | Id. Remote Control
Long press on partial arm key |  | PA | Panic Alarm | NULL | Id. Remote Control
Long press on total arm key |  | PA | Panic Alarm | NULL | Id. Remote Control
Long press on info key |  | PA | Panic Alarm | NULL | Id. Remote Control
CODE/TAG EVENTS
Recognized user code |  | JP | User On Premises | NULL | Id. Account
Recognized user key |  | JP | User On Premises | NULL | Id. Account
MOTHER BOARD EVENTS
Panel tamper |  | 137 | CID_AL_ZONE_TAMPER | NULL | NULL
Panel tamper restoral |  | 137 | CID_AL_ZONE_TAMPER | NULL | NULL
Configuration start |  | LB | Panel programming changed | NULL | NULL
Configuration end |  | LX | Panel programming changed | NULL | NULL
Periodic test |  | RP | Periodic test report | NULL | NULL
Wrong code |  | DD | Access denied | NULL | Id. Account
Recognized installer code |  | JP | Access report by user | NULL | NULL
Panel shutdown |  | JR | System shutdown | NULL | NULL
Panel reset |  | YW | System reset | NULL | NULL
Ethernet disconnection |  | NT | Communication trouble | NULL | 9004
Ethernet restoral |  | NR | Communication trouble | NULL | 9004
Internet connection (ETH) loss |  | NT | Communication trouble | NULL | NULL
Internet connection (ETH) restoral |  | NR | Communication trouble | NULL | NULL
PSTN loss |  | LT | Telco 1 fault | NULL | NULL
PSTN restoral |  | LR | Telco 1 fault | NULL | NULL
GSM loss |  | NT | Telco 2 fault | NULL | 9003
GSM restoral |  | NR | Telco 2 fault | NULL | 9003
Loss of central polling |  | YS | Loss of central polling | NULL | NULL
Loss of central polling restoral |  | YK | Loss of central polling | NULL | NULL
Jamming on wireless transceiver |  | XQ | Radio transmitter disabled | NULL | NULL
Jamming on wireless transceiver restoral |  | XH | Radio transmitter disabled | NULL | NULL
Wrong code (from web) |  | DD | Access denied | NULL | Id. Account
Recognized installer code |  | DO | Access report by user | NULL | NULL
Program mode entry |  | LB | Program mode entry | NULL | NULL
Program mode exit |  | LX | Program mode exit | NULL | NULL
Duress code |  | HA | Holdup | NULL | Id. Account
PROGRAMMABLE LOGICS
Programmable logics |  | UX (configurable) | Undefined | NULL | Id. Logic
*Events not yet ready

## Contact-ID
|  | CODE | EVENT | DATA TYPE | ADDRESS NUMBER
ZONE EVENTS | Zone CATEGORY | OTHER |  |  |  | SMOKE | FIRE | GAS | WATER | PANIC | HOLDUP | TECHNICAL | DOOR
Zone alarm |  | 130 | CID_AL_ZONE_BURGLARY | Partition and Id.Partition | Id. Zones | 111 | 110 | 151 | 154 | 120 | 121 | 130 | 130
Zone restoral |  | 130 | CID_AL_ZONE_BURGLARY | Partition and Id.Partition | Id. Zones | 111 | 110 | 151 | 154 | 120 | 121 | 130 | 130
Zone tamper |  | 137 | CID_AL_ZONE_TAMPER | Partition and Id.Partition | Id. Zones
Zone tamper restoral |  | 137 | CID_AL_ZONE_TAMPER | Partition and Id.Partition | Id. Zones
Zone bypass |  | 570 | CID_BD_ZONE_SENS_BYPASS | Partition and Id.Partition | Id. Zones
Zone unbypass |  | 570 | CID_BD_ZONE_SENS_BYPASS | Partition and Id.Partition | Id. Zones
Zone masking |  | 600 | CID_T_TEST_MISC | Partition and Id.Partition | Id. Zones
Zone masking restoral |  | 600 | CID_T_TEST_MISC | Partition and Id.Partition | Id. Zones
Zone real time alarm |  | 0 | Undefined | Partition and Id.Partition | Id. Zones
Zone real time restoral |  | 0 | Undefined | Partition and Id.Partition | Id. Zones
Zone pre alarm |  | 138 | CID_AL_ZONE_NEAR_ALARM | Partition and Id.Partition | Id. Zones
PARTITION EVENTS
Partition alarm |  | 130 | CID_AL_ZONE_BURGLARY | Partition and Id.Partition | NULL
Partition tamper |  | 137 | CID_AL_ZONE_TAMPER | Partition and Id.Partition | NULL
Partition armed |  | 400 | CID_OC_OPEN_CLOSE | Partition and Id.Partition | NULL
Partition disarmed |  | 400 | Opening Report | Partition and Id.Partition | NULL
Partition exit time restoral |  | 0 | Undefined | Partition and Id.Partition | NULL
Partition negligency |  | 404 | CID_OC_LATE_TO_OC | Partition and Id.Partition | NULL
Arming cancelled |  | 454 | CID_OC_FAILED_CLOSE | Partition and Id.Partition | NULL
Doorbel |  | 0 | Undefined | Partition and Id.Partition | NULL
End Doorbel |  | 0 | Undefined | Partition and Id.Partition | NULL
Patrouille |  | 0 | Undefined | Partition and Id.Partition | NULL
End Patrouille |  | 0 | Undefined | Partition and Id.Partition | NULL
Entry time |  | 0 | Undefined | Partition and Id.Partition | NULL
Entry time end |  | 0 | Undefined | Partition and Id.Partition | NULL
Exit time |  | 0 | Undefined | Partition and Id.Partition | NULL
Exit time end |  | 0 | Undefined | Partition and Id.Partition | NULL
OUTPUT EVENTS
Output Activated |  | 0 | Undefined | NULL | Id.output
Output Deactivated |  | 0 | Undefined | NULL | Id.output
Load Connection |  | 0 | Undefined | NULL | Id.output
Load Disconnection |  | 0 | Undefined | NULL | Id.output
PERIPHERAL EVENTS
Peripheral Tamper |  | 341 | CID_TR_EXP_MOD_TAMPER | NULL | Id. Peripheral
Peripheral tamper restored |  | 341 | CID_TR_EXP_MOD_TAMPER | NULL | Id. Peripheral
Wireless peripheral tamper |  | 341 | CID_TR_EXP_MOD_TAMPER | NULL | Id. Peripheral
Wireless peripheral tamper restoral |  | 341 | CID_TR_EXP_MOD_TAMPER | NULL | Id. Peripheral
Peripheral missing |  | 330 | CID_TR_SYS_PERIP_TROUBLE | NULL | Id. Peripheral
Peripheral missing restoral |  | 330 | CID_TR_SYS_PERIP_TROUBLE | NULL | Id. Peripheral
Wireless peripheral missing |  | 330 | CID_TR_SYS_PERIP_TROUBLE | NULL | Id. Peripheral
Wireless peripheral missing restoral |  | 330 | CID_TR_SYS_PERIP_TROUBLE | NULL | Id. Peripheral
IP Peripheral Tamper |  | 341 | CID_TR_EXP_MOD_TAMPER | NULL | Id. Peripheral
IP Peripheral Tamper restoral |  | 341 | CID_TR_EXP_MOD_TAMPER | NULL | Id. Peripheral
IP Peripheral missing |  | 330 | CID_TR_SYS_PERIP_TROUBLE | NULL | Id. Peripheral
IP Peripheral missing restoral |  | 330 | CID_TR_SYS_PERIP_TROUBLE | NULL | Id. Peripheral
KEYPAD EVENTS
Key 0 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 1 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 2 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 3 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 4 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 5 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 6 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 7 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 8 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
Key 9 on keypad |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Peripheral UI
PROXIMITY READER EVENTS
Green led on reader |  | 600 | CID_T_TEST_MISC | NULL | Id. Peripheral UI
Red led on reader |  | 600 | CID_T_TEST_MISC | NULL | Id. Peripheral UI
White led on reader |  | 600 | CID_T_TEST_MISC | NULL | Id. Peripheral UI
Blue led on reader |  | 600 | CID_T_TEST_MISC | NULL | Id. Peripheral UI
Yellow led on reader |  | 600 | CID_T_TEST_MISC | NULL | Id. Peripheral UI
COMMUNICATION EVENTS
Communication failure to user |  | 354 | CID_TR_FAIL_COMM_EVENT | NULL | Id.Contact List
Incoming call* |  | 422 | CID_OC_ACCESS_REPORT_USER | NULL | NULL
C-ID communication done |  | 0 | Undefined | NULL | NULL
C-ID communication failure |  | 354 | CID_TR_FAIL_COMM_EVENT | NULL | Id. CID Receiver
SIA communication done |  | 0 | Undefined | NULL | NULL
SIA communication failure |  | 354 | CID_TR_FAIL_COMM_EVENT | NULL | Id. SIA Receiver
POWER EVENTS
Main power loss |  | 301 | CID_TR_AC_LOSS | NULL | Id. Peripheral
Main power restoral |  | 301 | CID_TR_AC_LOSS | NULL | Id. Peripheral
Low battery |  | 302 | CID_TR_LOW_SYS_BATTERY | NULL | Id. Peripheral
Low battery restoral |  | 302 | CID_TR_LOW_SYS_BATTERY | NULL | Id. Peripheral
Battery fault |  | 311 | CID_TR_BATT_MISS_DEAD | NULL | Id. Peripheral
Low power output |  | 312 | CID_TR_POWER_SUP_OVERCUR | NULL | Id. Peripheral
Low power output restoral |  | 312 | CID_TR_POWER_SUP_OVERCUR | NULL | Id. Peripheral
Battery charger fault |  | 312 | CID_TR_POWER_SUP_OVERCUR | NULL | Id. Peripheral
Battery charger restoral |  | 312 | CID_TR_POWER_SUP_OVERCUR | NULL | Id. Peripheral
Warning fuse |  | 300 | CID_TR_SYSTEM_TROUBLE | NULL | Id. Peripheral
Warning fuse restoral |  | 300 | CID_TR_SYSTEM_TROUBLE | NULL | Id. Peripheral
CRONOTERMOSTAT EVENTS
Cronotermostat off* |  | 159 | CID_AL_ZONE_LOW_TEMP | NULL | Id. Chronothermostat
Heater on* |  | 158 | CID_AL_ZONE_HIGH_TEMP | NULL | Id. Chronothermostat
Cooler on* |  | 152 | CID_AL_ZONE_REFRIGERATION | NULL | Id. Chronothermostat
REMOTE CONTROL EVENTS
Disarm key |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Remote Control
Partial arm key |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Remote Control
Full arm key |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Remote Control
Long press on disarm key |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Remote Control
Long press on partial arm key |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Remote Control
Long press on total arm key |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Remote Control
Long press on info key |  | 120 | CID_AL_ZONE_PANIC | NULL | Id. Remote Control
CODE/TAG EVENTS
Recognized user code |  | 422 | CID_OC_ACCESS_REPORT_USER | NULL | Id. Account
Recognized user key |  | 422 | CID_OC_ACCESS_REPORT_USER | NULL | Id. Account
MOTHER BOARD EVENTS
Panel tamper |  | 137 | CID_AL_ZONE_TAMPER | NULL | NULL
Panel tamper restoral |  | 137 | CID_AL_ZONE_TAMPER | NULL | NULL
Configuration start |  | 306 | CID_TR_PANEL_PRG_CHANGED | NULL | NULL
Configuration end |  | 306 | CID_TR_PANEL_PRG_CHANGED | NULL | NULL
Periodic test |  | 602 | CID_T_PERIOD_TEST_REPORT | NULL | NULL
Wrong code |  | 421 | CID_OC_ACCESS_DENIED | NULL | Id. Account
Recognized installer code |  | 422 | CID_OC_ACCESS_REPORT_USER | NULL | NULL
Panel shutdown |  | 308 | CID_TR_SYSTEM_SHUTDOWN | NULL | NULL
Panel reset |  | 305 | CID_TR_SYSTEM_RESET | NULL | NULL
Ethernet disconnection |  | 350 | CID_TR_COMM_TROUBLE | NULL | 9004
Ethernet restoral |  | 350 | CID_TR_COMM_TROUBLE | NULL | 9004
Internet connection (ETH) loss |  | 350 | CID_TR_COMM_TROUBLE | NULL | NULL
Internet connection (ETH) restoral |  | 350 | CID_TR_COMM_TROUBLE | NULL | NULL
PSTN loss |  | 351 | CID_TR_TELCO1_FAULT | NULL | NULL
PSTN restoral |  | 351 | CID_TR_TELCO1_FAULT | NULL | NULL
GSM loss |  | 352 | CID_TR_TELCO2_FAULT | NULL | 9003
GSM restoral |  | 352 | CID_TR_TELCO2_FAULT | NULL | 9003
Loss of central polling |  | 356 | CID_TR_LOSS_CENTRAL_POL | NULL | NULL
Loss of central polling restoral |  | 356 | CID_TR_LOSS_CENTRAL_POL | NULL | NULL
Jamming on wireless transceiver |  | 552 | CID_BD_RADIO_TRANS_DIS | NULL | NULL
Jamming on wireless transceiver restoral |  | 552 | CID_BD_RADIO_TRANS_DIS | NULL | NULL
Wrong code (from web) |  | 421 | CID_OC_ACCESS_DENIED | NULL | Id. Account
Recognized installer code |  | 422 | CID_OC_ACCESS_REPORT_USER | NULL | NULL
Program mode entry |  | 627 | CID_T_PRG_MODE_ENTRY | NULL | NULL
Program mode exit |  | 628 | CID_T_PRG_MODE_EXIT | NULL | NULL
Duress code |  | 121 | CID_AL_USER_DURESS | NULL | Id. Account
PROGRAMMABLE LOGICS
Programmable logics |  | (configurable) | Undefined | NULL | Id. Logic
*Events not yet ready