## Slide 1: Elevator Shafts
Application Report

## Slide 2: Content
Risks, Cause & Damage
Challenges
Application Scenarios
Benefits
Notes: Application Drivers: The motivation to use ASD technology (in general)
Data Centers: The key elements & benefits for using ASD technology in this particular application

## Slide 3: Elevator Shafts Risk, Cause & Damage
Main risk is a building fire generating smoke entering the shaft.
Heat and friction being an ignition source for combustible parts in the shaft.
High death toll being the main consequence.

## Slide 4: Elevator Shafts Challenges
Floor Pressurization System
Top Vent
Floor
Wind
Elevator
Shaft
Tw
Smoke Dilution
  Elevator pressurization
  Rapid air movement
  Fresh air
Circulation Dynamics
Floor
Fire Floor
Notes: A moving elevator is constantly pushing & sucking air
-> smoke is easily entering the shaft and the cage
-> smoke generated within the shaft gets easily diluted by fresh air taken in

## Slide 5: Elevator Shafts Challenges
Difficult Access
Serviceability
  Coordination
  Workplace Safety
  Downtime of the elevator
  Number of test points
  Place of test points
Notes: The detector as well as the test point can be positioned in an easy accessible location where programming and maintenance can be performed without disrupting elevator operation and without risk for the engineer.

## Slide 6: Elevator Shafts Challenges
Difficult Detection
Performance
  Oil and greasing products
  Humidity
  High Temperature
  Abrasives creating dust
Notes: Traditional point detectors
will get stuck with dust
Will detoriate and suspend function
Will create nuisance alarms
… are not very advantageous in such an environment

## Slide 7: Elevator Shafts Application Scenarios
❷
❶
❸
❶ Area Monitoring
    Rooms next to the elevator shaft
❷ Elevator Shaft
    Tube within the elevator shaft, detector outside
    Tall Buildings: Tube covering the entire height
❸ Engine Room
    Engine Monitoring
    Tall Buildings: Switching Cabinets

## Slide 8: Elevator Shaft User Benefits
3000
Claim | Benefit | Proof
Most reliable detection | Active sampling is the method of choice for a high airflow environment | Actively sampling the air with adjustable sensitivity and aspiration power
Most efficiently serviceable system | High returns during maintenance | Unit is placed outside the shaft The lower number and better accessibility of the test points results in lower maintenance cost
Allows for a staged approach | Early warning without the risk of unwanted evacuation | Four sensitivity levels allowing for Alert, Action, Alarm and Extinguishing Release

## Slide 9: Thank you for your attention!
Securiton AG
Alarm- und Sicherheitssysteme
Alpenstrasse 20, CH-3052 Zollikofen
www.securiton.ch, info@securiton.ch